Measurement of the redox state of the plastoquinone pool in cyanobacteria

Sergey Khorobrykha, Tatsuhiro Tsurumakib,c, Kan Tanakab, Taina Tyystjärvia*, Esa Tyystjärvia*.

aDepartment of Biochemistry/Molecular Plant Biology, University of Turku, FI-20014 Turku, Finland

bLaboratory for Chemistry and Life Science, Institute of Innovative Research, Tokyo Institute of Technology, 29-R1-4259 Nagatsuta, Yokohama 226-8503, Japan

cGraduate School of Life Science and Technology, Tokyo Institute of Technology, 29-R1-4259 Nagatsuta, Yokohama 226-8503, Japan

*Corresponding authors, e-mail esatyy@utu.fi (ET) and taityy@utu.fi (TT), University of Turku, Molecular Plant Biology, FI-20014 Turku, Finland, tel. +358294505000.

Keywords: plastoquinone, Synechocystis sp. PCC6803, cyanobacteria

Abbreviations:

Chl, chlorophyll; DBMIB, 2,5-dibromo-t-isopropyl-3-methyl-1,4-benzoquinone; DCMU, 3-(3,4-dichlorophenyl)-1,1-dimethylurea; Cyt b6f, cytochrome b6/f complex; Cyt c6, cytochrome c6;  PSI, photosystem I; PSII, photosystem II;  PQ, plastoquinone; PQH2, plastohydroquinone

Abstract

Here, we developed a method for measuring the in vivo redox state of the plastoquinone (PQ) pool in the cyanobacteria Synechocystis sp. PCC 6803. Cells were illuminated on a glass fiber filter, PQ was extracted with ethyl acetate and determined with HPLC. Control samples with fully oxidized and reduced photoactive PQ pool were prepared by far-red and high light treatments, respectively, or by blocking the photosynthetic electron transfer chemically before or after PQ in moderate light. The photoactive pool comprised 50 % of total PQ. We find that the PQ pool of cyanobacteria behaves under light treatments qualitatively similarly as in plant chloroplasts, is less reduced during growth under high than under ambient CO2 and remains partly reduced in darkness.

Introduction

In cyanobacteria, the plastoquinone (PQ) pool functions in both the photosynthetic and respiratory electron transfer chains (see [1] for a review). In photosynthetic electron transfer, the first electron accepting PQ molecule QA of photosystem II (PSII) transfers electrons one by one to the second PQ called QB. In the QB pocket, oxidized PQ is reduced to plastohydroquinone (PQH2) and then exchanged with an oxidized PQ from the PQ pool of the thylakoid membrane. PQH2 is oxidized by the cytochrome b6/f complex (Cyt b6f) that further transfers one of the electrons to PSI via plastocyanin or cytochrome c6 (Cyt c6) while the second electron returns to PQ via the Q-cycle. Two protons are released to the thylakoid lumen per each electron transferred to PSI. In addition to its function in the linear photosynthetic electron transfer reactions, the PQ pool participates in cyclic electron transfer around PSI. The NAD(P)H dehydrogenase NDH-1 accepts electrons from ferredoxin and delivers them to the PQ pool, pumping protons from the cytosol to the thylakoid lumen [2-4].

In respiratory electron transfer, succinate dehydrogenase acts as a major electron donor for the PQ pool [5], but NDH-1 and NDH-2 complexes may continue to reduce the PQ pool in the dark after redox equilibration of the succinate and PQ pool [6-7]. Respiratory oxidation of PQH2 occurs via three types of terminal oxidases [8]. Cytochrome bd-quinol oxidase and an alternative respiratory terminal oxidase (ARTO) catalyze direct oxidation of PQH2 whereas an aa3 type cytochrome c oxidase (COX) catalyzes oxidation of Cyt c6 [9-11].

In plants, the redox state of the PQ pool acts as a central source of signals that lead to both short and long-term acclimation to light quality and quantity [12]. The PQ pool is assumed to function in light signaling in cyanobacteria as well [13], although cyanobacterial state transitions appear not to depend on the redox state of the PQ pool [14]. The function of the PQ pool in the middle of the two photosystems suggests that the PQ pool can be reduced by light favoring PSII over PSI and oxidized by light favoring PSI. Furthermore, bright light is expected to reduce the PQ pool, as PSII can feed electrons to the PQ pool more rapidly than Cyt b6f and the Calvin-Benson cycle can remove electrons from the pool [15-16].

The determination of the in vivo redox state of the PQ pool has turned out to be difficult in cyanobacteria. Typically, indirect methods based on chlorophyll (Chl) a fluorescence have been applied [9], but the fluorescence methods actually measure the redox state of the primary quinone QA, not the state of the PQ pool.  A quinone electrode has been used, but the results are considered to be only relative [17]. A HPLC method originally developed for plant leaves [18] was modified to measure the redox state of the PQ pool in vivo in cyanobacteria [19]. In the method, an extracted PQ sample containing PQ and PQH2 is divided to two parts, one of which is reduced with sodium borohydride to obtain a fully reduced sample. In addition to the target samples, control samples from cyanobacteria containing a fully reduced or fully oxidized PQ pool are needed because only a fraction of PQ is found in the PQ pool. The redox state of the PQ pool is then obtained by comparing the ratio PQH2 (no addition)/PQH2 (after reduction with NaBH4) in the target sample to the same ratio in the control samples.

The control samples can be obtained with chemical or light treatments that fully reduce or oxidize the PQ pool [13, 18-22]. The herbicide 3-(3,4-dichlorophenyl)-1,1-dimethylurea (DCMU) inhibits reduction of PQ by PSII and therefore the PQ pool can be assumed to be maximally oxidized in illuminated, DCMU-treated cyanobacteria. On the other hand, 2,5-dibromo-t-isopropyl-3-methyl-1,4-benzoquinone (DBMIB) inhibits the oxidation of PQH2 by Cyt b6f, which leads to maximum reduction of the PQ pool in illuminated, DBMIB-treated cyanobacteria. In the present study, the results obtained with the chemical method (DBMIB/DCMU) were compared with results obtained with the illumination method (high light/far red light).

The results obtained by Schuurmans et al. [19] suggested that the redox state of the PQ pool of Synechocystis sp. PCC6803 remains nearly the same in darkness, under 625-nm orange light and in 625-nm light supplemented with 730-nm far red light. The results were surprising, as 625-nm light strongly favors PSII due to absorption by phycobilisomes [23]. Thus, the results of Schuurmans et al. [19] suggested that the redox state of the PQ pool of cyanobacteria is a target of homeostatic regulation, instead of functioning as a source of a regulatory signal.

In the earlier method [19], a mixture (1:1, V:V) of methanol and petroleum ether was used for the extraction of PQ from cyanobacteria. We developed the extraction method further by layering the cyanobacteria to a filter and applying the light treatments to the layered cyanobacteria, and by using ethyl acetate for extraction. The results show that the use of filter-layered cells and extraction of PQ with ethyl acetate, continuing the light treatment throughout the extraction, provide a reliable method to measure in vivo redox state of the PQ pool. Furthermore, the behavior of the redox state of the PQ pool under different light treatments was found to be qualitatively similar in cyanobacteria as in plant chloroplasts.

Materials and methods

30-ml liquid cultures of the glucose-tolerant strain of Synechocystis sp. PCC6803 were grown in 100-ml Erlenmeyer flasks under constant illumination, photosynthetic photon flux density (PPFD) 40 µmol m-2s-1, at 32 °C. The BG-11 medium was supplemented with 20 mM Hepes-NaOH pH 7.5, and cells were either grown in ambient air or in air enriched with 3% CO2, as described earlier [24]. For experiments, the concentration of cells both in ambient air and 3% CO2 was 0.8-1.2 measured as OD at 730 nm. Chl a was measured spectrophotometrically from methanol extracts [25].

The redox state of the PQ pool was measured from cells directly under growth conditions or in the dark, after 2 h of dark treatment in the growth temperature and atmosphere. To oxidize the PQ pool, the cells were illuminated for 10 min in the presence of 20 µM DCMU or the cells were illuminated for 4 min at 710 nm at the photon flux density (PFD) of 50 µmol m-2s-1) defined with a Corion interference filter (10 nm half width at half maximum), as indicated. To reduce the PQ pool, the cells were illuminated in the presence of 50 µM DBMIB for 5 min or untreated cells were illuminated at the PPFD of 2000 µmol m-2s-1 for 30 s, as indicated.

HPLC analysis of PQ and PQH2 was performed with LiChroCART (Sigma) C18 reversed-phase column (LiChrospher 100, 125 × 4 mm, 5 µm; Sigma) using an Agilent 1100 series device with a diode array detector (G1315B) and fluorescence detector (G1321A), and using the mobile phase of methanol:hexane (34:2, v:v). The flow rate was 0.75 ml min-1, the temperature of the column was maintained at 25 °C, and the injection volume was 20 µl. PQ was detected with absorption at 255 nm using the diode array detector, and PQH2 was detected with fluorescence detector (lex = 290 nm, lem = 330 nm).

For the estimation of the in vivo redox state of the PQ pool, 3 ml of cells were layered on a 1.2 µm glass microfiber filter by vacuum filtration, the light treatments were applied to the cyanobacteria layered on the filter, and then PQ was rapidly extracted from the filter by grinding in a mortar with 2 ml of ice-cold ethyl acetate for 10 s. The specific illumination was continued during the extraction. The extract was filtered through a 0.2 μm polytetrafluoroethylene filter, dried with N2, the pellet was dissolved to 100 µl of methanol and the sample was divided to two parts. PQ was reduced to PQH2 in one part by adding 1 µl of 250 mM NaBH4 just prepared in methanol. The relative amount of PQH2 in each sample was measured with HPLC using fluorescence intensity at 330 nm with excitation at 290 nm. The relative amount of PQ, obtained from absorbance at 255 nm, was used as a quality control to check the completeness of the reduction with NaBH4. The percentage of photoactive PQH2 in the PQ pool of a target sample was calculated from the equation

Percentage = 100 x (FTARGET-FOX)/(FRED-FOX),				(Eq. 1)

where F is the percentage of PQH2 in a sample to the total amount of PQ in the sample (see Eq. 2). The subscripts TARGET, OX and RED refer to the target sample and the control samples with a fully oxidized and a fully reduced of photoactive PQ pool, respectively. F is calculated as the ratio between the HPLC peak area (A) of PQH2 divided by the peak area of PQH2 of the same sample after reduction with NaBH4

F = ANO_ADDITION/ANaBH4.								(Eq. 2)

The peak area of PQH2 after reduction with sodium borohydride (ANaBH4) represents the total amount of PQ in the sample. A small amount, representing less than 5 % of total PQ, always remains in the oxidized form after reduction by NaBH4 (Fig. 1).

For estimation of the amount PQ in cyanobacteria, 10 ml of cells (OD730=0.8 - 1.2) was layered on a 1.2 µm glass microfiber filter by vacuum filtration and then extracted by 5 ml of ethyl acetate by grinding in a mortar. The procedure was repeated three times to extract all PQ. The extract was filtered through a 0.2 μm polytetrafluoroethylene filter, dried with N2, the pellet was dissolved to 200 µl of methanol and the sample was divided to two parts. The amount of PQ was measured with both fluorescence at 330 nm with excitation at 290 nm and with absorbance at 255 nm. For measurement of PQ with fluorescence, 2 µl of 250 mM NaBH4 just prepared in methanol was added to one of part to totally reduce PQ to PQH2. The amount of PQH2 in this part is proportional to peak area of PQH2 (with retention time about 8.2 min) measured by fluorescence at 330 nm. For measurement of PQ with absorbance, 2 µl of 100 mM KOH in water was added to another part; addition of KOH leads to rapid oxidation of PQH2 [26]. The amount of PQ in this part is proportional to the peak area of PQ (with retention time about 29.3 min) measured by absorbance at 255 nm.

The HPLC peak areas were related to absolute amounts of PQH2 and PQ by comparing to a PQ standard. To prepare the PQ standard, PQ-9 was isolated from pumpkin thylakoid membranes on a preparative scale using an alumina column-based method [27]. After extraction with an alumina column, PQ was additionally purified using an HPLC-based method [18] with some modifications. Briefly, the HPLC purification was performed with LiChroCART (Sigma) C18 reversed-phase column (LiChrospher 100, 125  4 mm, 5 m; Sigma) using an Agilent 1100 series device with absorption and fluorescence detectors (Agilent Technologies), and using an isocratic solvent system (methanol:hexane, 34:2 v:v). The flow rate was 0.75 ml min-1, the temperature of the column was maintained at 25 °C, and the injection volume was 40 µl. PQ-9 was detected with absorption at 255 nm. Pure PQ-9 was collected according to the retention times of the corresponding peaks on the chromatogram using Analyt-FC (Agilent Technologies) collector. Finally, the pure PQ-9 in methanol/hexane was dried under N2 stream and dissolved with methanol. The concentration of pure PQ was measured using its molar absorption coefficient, 255 = 17940 M-1 cm-1 [28]. PQH2-9 was prepared by reducing pure PQ-9 with NaBH4. HPLC chromatograms of PQ and PQH2 standards are shown in Fig. 1.

Results and Discussion

Typical chromatograms of extracts from cells of the cyanobacterium Synechocystis sp. PCC6803 are shown in Fig. 2. Quality checking with 255 nm absorption showed that approximately 95 % of PQ was in the reduced form in samples reduced with NaBH4 (Fig. 2B); the reason why a small amount remains as oxidized PQ is not known. The amount of PQ in Synechocystis cells was determined from the area of the 330 nm PQH2 fluorescence peak after addition of NaBH4 (Fig. 2D). The amount of PQ remaining after addition of NaBH4, calculated from the remaining PQ absorbance peak (Fig. 2B), was included. The amount of PQ was also estimated from absorption at 255 nm by measuring the PQ peak area after addition of KOH. The HPLC peak areas were compared with a PQ standard. Synechocystis cells grown under ambient air contained 26.45 ± 1.06 and those grown under 3 % CO2 contained 32.72 ± 0.31 PQ molecules per 1000 Chl a molecules, when the amount of PQ was measured with fluorescence after reduction of PQ with NaBH4. The amount of PQ measured with absorption after oxidation induced by the addition of KOH was slightly higher (Table 1), possibly due to different sensitivity of the setup for fluorescence and absorption. Earlier results [19] suggest that the PQ/Chl ratio decreases with cell density of the culture from 67 to 19 per 1000 Chl a in Synechocystis sp. PCC6803. The present results are in the same range, but other growth conditions in addition to the cell density may affect the result. Interestingly, the Chl (a+b) to PQ ratio of plant chloroplasts is in the same range [18] despite of the big differences between the antennae of plants and cyanobacteria.

The measurement of the redox state of the PQ pool with HPLC requires reliable control samples in which the PQ pool is either fully reduced or fully oxidized. For this, Synechocystis sp. PCC6803 cells were illuminated in the presence of DCMU and in the presence of DBMIB. The reduction level of total PQ was 24.8 ± 1.6 % in DCMU-treated samples and 67.8 ± 4.3 % in DBMIB-treated samples (Fig. 3), indicating that the PQ pool that can be reduced or oxidized with the combined treatment with chemicals and light, comprised 43.0 % of total PQ, or 13.3 PQ molecules per 1000 Chls. This result is very similar as in plant leaves, where 30-40 % of total PQ has earlier been found to belong to the photoactive pool [18, 29].

To test an inhibitor-less method, HPLC measurements were also done with cyanobacteria treated with 710-nm far red light to oxidize the PQ pool and with high-intensity white light to reduce it. Similar results were obtained with this method (30.5 ± 4.1 % PQH2 with far red light and 72.1 ± 5.1 % with high light, Fig. 3), indicating that 41.6 % of total PQ, or 12.9 PQ molecules per 1000 Chls, belong to the photoactive pool. This consensus of the two series of results is particularly important, as it shows that the modified HPLC method can be used to probe the redox state of the PQ pool under arbitrary illumination conditions. Furthermore, the results show that high light and far-red treatments can be used to poise the PQ pool of cyanobacteria to the reduced and oxidized conditions, respectively.

The physical identity of the non-photoactive PQ of cyanobacteria is not yet completely understood. In plants, non-photoactive PQ is present in plastoglobuli and in the chloroplast envelope [18]. In cyanobacteria, PQ participates in alternative respiratory electron transfer functioning in the cytoplasmic membrane [30]. Furthermore, two Synechocystis genes encode for homologues of plant plastoglobulins [31], which suggests that also cyanobacteria might have plastoglobuli.

Cyanobacteria are often cultivated in an atmosphere containing a high percentage of CO2. Growth of Synechocystis cells in high CO2 increases the size of the phycobilisome antenna, and enhances the photosynthetic linear electron transfer reactions and the dark respiration [24]. Due to these physiological changes, the size of the photoactive PQ pool might be different in cells grown in high CO2, compared to cells growth in ambient air. We found that cells grown under 3 % CO2 contained 36.0 PQ molecules per 1000 Chls, and the photoactive pool comprised 47.9 % of total PQ (Fig. 3) or 17.3 PQ/1000 Chl according to the DBMIB/DCMU method. The high light / far red method yielded a PQ pool size comprising 55.2 % of total PQ (Fig. 3) or 19.9 PQ/1000 Chl. Thus, the ratio of the amount of photoactive PQ to the amount of Chl was 30-54 % larger in cells grown in high CO2 than in cells grown in air. This result may suggest an increase in the amount of PQ per photosynthetic reaction centers but may also be explained by a lower PSI:PSII ratio at high CO2.

The redox state of the PQ of the photoactive PQ pool in growth conditions and in the dark was calculated by comparing the ratio PQH2/(PQH2+PQ) in the target samples to same ratio in control samples with fully reduced or oxidized PQ pool. At the studied moderate PPFD of 40 µmol m-2s-1, a high concentration of CO2 lowered the percentage of PQH2 in the PQ pool from 45 % in air to 14 % in high CO2 (Table 2; calculated using the control samples obtained with the DBMIB/DCMU treatments) or from 32 % in air to 18 % in high CO2 (Table 2; calculated using the control samples obtained with the high light / far red light treatments). A small fraction of the PQ pool was found to remain reduced after two hours in the dark both under air and under 3 % CO2 (Table 2). Interestingly, the PQ pool of Synechocystis appears to remain at a very similar reduction state in the dark as the PQ pool of plant chloroplasts, where approximately one fourth of PQ remains reduced in the dark [18, 29]. A fraction of the PQ pool was found to remain reduced in the dark also in cyanobacteria [19].

Comparison of the control samples prepared with the high-light pulse / far red treatment with those prepared with the DBMIB/DCMU method (Fig. 3) might suggest that DCMU treatment oxidizes a larger fraction of the PQ pool than 710-nm far red light and that a high-light pulse reduces a larger fraction than DBMIB treatment. However, this comparison showed a statistically significant difference (p=0.011) only for the comparison of DCMU and FR treatments of cyanobacteria grown under air, suggesting that the two methods for preparing the control samples are equivalent. Furthermore, the similarity of data obtained with the high-light pulse / far red method and with the DBMIB/DCMU method data indicate that the side effects of DBMIB, including its ability to compete with 2,6-dichloro-p-benzoquinone for binding to the QB site of PSII [32], ability to slowly donate electrons to plastocyanin [33], or its long-term adverse effects [34] do not invalidate the efficiency of DBMIB in blocking oxidation of PQH2 by cyt b6f.

The cyanobacterial PQ pool was found to become oxidized under far-red light, in agreement with the expected behavior of the PQ pool in wavelengths favoring PSI. The result suggests that the redox state of the PQ pool responds to the balance of the electron transfer rates of the two photosystems in a fundamentally similar way in cyanobacteria as in plants. The result also suggests that the respiratory electron transfer mechanisms that both reduce and oxidize the PQ pool [5-11] do not rapidly respond to the high-light and far-red treatments used to induce reduction and oxidation of the PQ pool, respectively.

The oxidation of the PQ pool with far-red light contrasts with the conclusion of Schuurmans et al. [19] who suggested that the PQ pool is under metabolic regulation. One reason for the different results can be that we used far-red light to oxidize the PQ pool whereas a mixture of red and far-red was used by Schuurmans et al. [19]. However, it is possible that the methanol:petroleum ether extraction used by Schuurmans et al. [19] leads to oxidation of PQ during the extraction. The results of Kruk and Karpinski [18] demonstrate that extraction with ethyl acetate prevents both reduction of PQ by reductants present in plant cells and oxidation of PQH2 during the analysis.

The method was also tested with another cyanobacterium, Synechococcus sp. PCC 7942. The cyanobacteria were grown in similar conditions as Synechocystis, under normal air. The DBMIB/DCMU method was used for the reduction and oxidation of the PQ pool. In Synechococcus sp. PCC 7942, only 23 % of PQ was found to belong to the photoactive pool, and 60 % of the PQ pool was reduced in the growth conditions. These data may suggest a permanent species-specific difference, as Synechocystis can grow both autotrophically and heterotrophically whereas Synechococcus sp. PCC 7942 is an obligate autotroph. Earlier analysis of chlorophyll a fluorescence quenching in six cyanobacterial species suggested that the dark reduction state of the PQ pool varies between species [34]. However, it is also possible that the size and dark reduction state of the photoactive PQ pool depend on the metabolic state of the organism, and in Synechococcus sp. PCC 7942, similar growth conditions favored a smaller pool that is more reduced in the dark than in Synechocystis.

Conclusions

The method developed here for the measurement of the redox state of the PQ pool in cyanobacteria preserves the in vivo redox state of the PQ pool and allows the estimation of this important parameter in various conditions. The results show that a similar fraction of total PQ belongs to the photoactive pool in cyanobacteria as in plants and indicate that the PQ pool responds to light treatments in a fundamentally similar way in cyanobacteria as in plants.

Acknowledgements

Saara Koskela is thanked for help with the measurements. This study was funded by Academy of Finland (grants 307335 to E.T. and 265807 to T.T.) and by MEXT KAKENHI (grants 18H02124 and 19H04720 to K.T.). The funding sources did not participate in the design, implementation or reporting of the study.

References

- Mullineaux CW (2014) Co-existence of photosynthetic and respiratory activities in cyanobacterial thylakoid membranes. Biochim Biophys Acta 1837: 503-511

- Mi H, Endo T, Schreiber U, Ogawa T, Asada K (1992) Electron donation from cyclic and respiratory flows to the photosynthetic intersystem chain is mediated by pyridine nucleotide dehydrogenase in the cyanobacterium Synechocystis PCC6803. Plant Cell Physiol 33: 1233-1237

- Strand DD, Fisher N, Kramer DM (2017) The higher plant plastid NAD(P)H dehydrogenase-like complex (NDH) is a high efficiency proton pump that increases ATP production by cyclic electron flow. J Biol Chem 292: 11850-11860

- Schuller JM, Birrell JA, Tanaka H, Konuma T, Wulfhorst H, Cox N, Schuller SK, Thiemann J, Lubitz W, Sétif P, Ikegami T, Engel BD, Kurisu G, Nowaczyk MM (2019) Structural adaptations of photosynthetic complex I enable ferredoxin-dependent electron transfer. Science 363: 257-260

- Cooley JW, Howitt CA, Vermaas WFJ (2000) Succinate:quinol oxidoreductases in the cyanobacterium Synechocystis sp. strain PCC6803: Presence and fuction in metabolism and electron transport. J Bacteriol 182: 714-722

- Howitt CA, Udall PK, Vermaas WFJ (1999) Type 2 NADH dehydrogenases in the cyanobacterium Synechocystis sp. strain PCC6803 are involved in regulation rather than respiration. J Bacteriol 181: 3994-4003

- Cooley JW, Vermaas WFJ (2001) Succinate dehydrogenase and other respiratory pathways in thylakoid membranes of Synechocystis sp. strain PCC6803: Capacity comparisons and physiological function. J BacterM, iol 183: 4251-4258

- Hart SE, Schlarb-Ridley BG, Bendall DS, Howe CJ (2005) Terminal oxidases of cyanobacteria. Biochem Soc Transact 33: 832-835

- Berry S, Schneider D, Vermaas WFJ, Rögner M (2002) Electron transport routes in whole cells of Synechocystis sp. strain PCC6803: The role of the cytochrome bd-type oxidase. Biochemistry 41: 3422-3429

- Nomura CT, Persson S, Shen G, Inoue-Sakamoto K, Bryant DA (2006) Characterization of two cytochrome oxidase operons in the marine cyanobacterium Synechococcus sp. PCC 7002: Inactivation of ctaD1 affects the PS I:PS II ratio. Photosynth Res 87: 215-228

- McDonald AE, Ivanov AG, Bode R, Maxwell DP, Rodermel SR, Hüner NPA (2011) Flexibility in photosynthetic electron transport: The physiological role of plastoquinol terminal oxidase (PTOX). Biochim Biophys Acta 1807: 954-967

- Rochaix J.-D. (2014) Regulation and dynamics of the light-harvesting system. Annu Rev Plant Biol 65: 287-309

- Hihara Y, Sonoike K, Kanehisa M, Ikeuchi M (2003) DNA microarray analysis of redox-responsive genes in the genome of the cyanobacterium Synechocystis sp.strain PCC6803. J Bacteriol 185: 1719-1725

- Calzadilla PI, Zhan J, Sétif P, Lemaire C, Solymosi D, Battchikova N, Wang Q, Kirilovsky D (2019) The cytochrome b6f complex is not involved in cyanobacterial state transitions. Plant Cell 31: 911-931

- Hope AB, Liggins J, Matthews DB (1988) The kinetics of reactions in and near the cytochrome b/f complex of chloroplast thylakoids. I. Proton deposition. Aust J Plant Physiol 15: 695-703

- Laisk A, Eichelmann H, Oja P, Peterson PR (2005) Control of cytochrome b6f at low and high intensity and cyclic electron transport in leaves. Biochim Biophys Acta 1708: 79-90

- Howitt CA, Cooley JW, Wiskich JT, Vermaas WF (2001) A strain of Synechocystis sp. PCC 6803 without photosynthetic oxygen evolution and respiratory consumption: implications for the study of cyclic photosynthetic electron transport. Planta 214: 46-56

- Kruk J, Karpinski S (2006) A HPLC-based method of estimation of the total redox state of plastoquinone in chloroplasts, the size of the photochemically active plastoquinone-pool and its redox state in thylakoids of Arabidopsis. Biochim Biophys Acta 1757: 1669-1675

- Schuurmans RM, Schuurmans JM, Bekker M, Kromkamp JC, Matthijs HCP, Hellingwerf KJ (2014) The redox potential of the plastoquinone pool of the cyanobacterium Synechocystis species strain PCC6803 is under strict homeostatic control. Plant Physiol 165: 463-475

- Escoubas J-M, Lomas M, LaRoche J, Falkowski PG (1995) Light intensity regulation of cab gene transcription is signaled by the redox state of the plastoquinone pool. Proc Natl Acad Sci USA 92: 10237-10241

- Pfannschmidt T, Nilsson A, Allen JF (1999) Photosynthetic control of chloroplast gene expression. Nature 397: 625-628

- Herranen M, Tyystjärvi T, Aro E-M (2005) Regulation of photosystem I reaction center 	genes in Synechcystis sp. strain PCC6803 during light acclimation. Plant Cell Physiol 46: 1484-1493

- Tyystjärvi T, Tuominen I, Herranen M, Aro E-M, Tyystjärvi E (2002) Action spectrum of psbA gene transcription is similar to that of photoinhibition in Synechocystis sp. PCC6803. FEBS Lett 516: 167-171

- Kurkela J, Hakkila K, Antal T, Tyystjärvi T (2017) Acclimation to high CO2 requires the ω subunit of the RNA polymerase in Synechocystis. Plant Physiol 174: 172-184

- Zavřel T, Sinetova MA, Červený J (2015) Measurement of chlorophyll a and carotenoids concentration in cyanobacteria. Bio-Protocol 5:e1467. DOI: 10.21769/BioProtoc.1467

- Khorobrykh S, Tyystjärvi E (2018) Plastoquinol generates and scavenges reactive oxygen species in organic solvent: Potential relevance for thylakoids.Biochim Biophys Acta Bioenerg 1859: 1119-1131

- Bucke C, Leech RM, Hallaway M, and Morton RA (1966) The taxonomic distribution of plastoquinone and tocopherolquinone and their intracellular distribution in leaves of Vicia faba L. Biochim Biophys Acta 112: 19-34.

- Kruk J, Strzałka K, Leblanc RM (1992) Monolayer study of plastoquinones, alpha-tocopherol quinone, their hydroquinone forms and their interaction with monogalactosyldiacylglycerol. Charge-transfer complexes in a mixed monolayer. Biochim Biophys Acta 1112: 19–26.

- Yoshida K, Shibata M, Terashima I, Noguchi K (2010) Simultaneous determination of in vivo plastoquinone and ubiquinone redox states by HPLC-based analysis. Plant Cell Physiol 51: 836-841

- Lea-Smith DJ, Ross N, Zori M, Bendall DS, Dennis JS, Scott SA, Smith AG, Howe CJ (2013) Thylakoid terminal oxidases are essential for the cyanobacterium Synechocystis sp. PCC 6803 to survive rapidly changing light intensities. Plant Physiol 162: 484-495

- Cunningham, Jr FX, Tice AB, Pham C, Gantt E (2010) Inactivation of genes encoding plastoglobulin-like proteins in Synechocystis sp. PCC 6803 leads to a light-sensitive phenotype. J Bacteriol 192: 1700-1709

- Satoh K, Koike H, Ichimura T, Katoh S (1992) Binding affinities of benzoquinones to the QB site of Photosystem II in Synechococcus oxygen-evolving preparation. Biochim Biophys Acta 1102: 45-52

- Schansker G, Tóth SZ, Strasser RJ (2005) Methylviologen and dibromothymoquinone treatments of pea leaves reveal the role of photosystem I in the Chl a fluorescence rise OJIP. Biochim Biophys Acta 1706: 250-261

- Barros MP, Necchi Jr O, Colepicolo P, Pedersén M (2006) Kinetic study of the plastoquinone pool availability correlated with H2O2 release in seawater and antioxidant responses in the red alga Kappaphycus alvareszii exposed to single or combined high light, chilling and chemical stresses. Biochim Biophys Acta 1757: 1520-1528

- Misumi M, Katoh H, Tomo T, Sonoike K (2016) Relationship between photochemical quenching and non-photochemical quenching in six species of cyanobacteria reveals species difference in redox state and species commonality in energy dissipation. Plant Cell Physiol 57: 1510-1517

Table 1. Amount of PQ in Synechocystis sp. PCC6803 grown under ambient air and under 3 % CO2, measured with HPLC. The amount of PQ was measured both after reduction by NaBH4 with 330 nm fluorescence and after KOH-induced oxidation with 255 nm absorbance. The HPLC peak areas were related to absolute amounts by comparing with a PQ standard. The values represent the mean and S.E.M. from four independent biological replicates.

|  | PQ molecules per 1000 Chl a molecules |  |
| --- | --- | --- |
| Addition | Air | 3 % CO2 |
| 5 mM NaBH4 | 26.45 ± 1.06 | 32.72 ± 0.31 |
| 2 mM KOH | 29.32 ± 1.33 | 35.94 ± 0.8 |

Table 2. Percentage of PQH2 in the PQ pool in Synechocystis sp. PCC6803 grown under ambient air and under 3 % CO2, measured with HPLC. The control samples for fully reduced and fully oxidized PQ pool were obtained with the DBMIB/DCMU method or with the high light / far red light (HL/FR) method, as indicated. The numbers in parentheses indicate the assumed full reduction and oxidation. The numbers represent an average ± S.E.M. estimate obtained by dividing the S.E.M. of the experimental result by the fractional size of the PQ pool (0 to 1), as determined from the control samples. The number of independent biological replicates was 3-11.

| Cells grown under: | Air |  | 3 % CO2 |  |
| --- | --- | --- | --- | --- |
| PQ pool reduced with: PQ pool oxidized with: | DBMIB DCMU | HL FR | DBMIB DCMU | HL FR |
| PPFD 40 µmol m-2s-1 | 44.6 ± 3.5 | 32.4 ± 3.6 | 13.9 ± 4.1 | 18.2 ± 3.5 |
| Darkness | 22.3 ± 3.5 | 9.3 ± 3.6 | 12.4 ± 1.4 | 16.9 ± 1.3 |
| DBMIB, light | (100) | 89.8 ± 4.6 | (100) | 93.0 ± 5.2 |
| DCMU, light | (0) | -13.8 ± 2.0 | (0) | 6.2 ± 3.6 |
| High light pulse | 109.9 ± 4.4 | (100) | 108.1 ± 3.8 | (100) |
| FR light | 13.3 ± 3.6 | (0) | -7.1 ± 0.5 | (0) |

Figure legends

Fig. 1 Chromatograms of PQ (A) and PQH2 (B) standards. The PQH2 standard was obtained by reduction of the PQ-9 standard with 5 mM NaBH4.

Fig. 2. Typical chromatograms. Absorbance at 255 nm, used for determination of the amount of PQ from the area of the peak at 26.9 min (A,B) and fluorescence at 330 nm, used for the determination of the amount of PQH2 at 8.2 min (C,D). Chromatograms of the untreated samples (A,C) and in the presence of 5 mM NaBH4 (B,D).

Fig. 3. The redox state of total PQ in cells of Synechocystis sp. PCC6803 under growth light (GL), darkness (DARK), during illumination with 710 nm far-red light (FR), during illumination in the presence of DCMU, during a high-light pulse (HL) and during illumination in the presence of DBMIB. The cells were grown under ambient air (AIR) or under air supplemented with 3 % CO2, as indicated. Each bar represents an average of 3-11 independent biological replicates and the error bars show S.E.M.